## Sheet2
Year | Period | Electricity_Generated_gwh | Thermal_generation_gwh | Source_document | Source_section | notes
2025 | Q1 | 10304.47 | 7222.59 | https://nerc.gov.ng/wp-content/uploads/2025/07/2025_Q1_Report.pdf | 2.1.3
| Q2 | 9830.31 | 6863.03 | https://nerc.gov.ng/wp-content/uploads/2025/10/2025_Q2-Report.pdf | 2.1.3
| Q3 | 9227.57 | 6260.88 | https://nerc.gov.ng/wp-content/uploads/2026/01/2025_Q3-Report.pdf | 2.1.3
| Q4 | 9831.58 | 6065.16
As at 2025/Q4, Nigeria has 28 power plants supplying to national grid. Consisting of 5 Hydro, 2 Steam, 19 Open Cycle Gas Turbines, 2 combined Cycle Gas Turbine