## README
Step 1 diagnostic — Nigerian grid generation per capita, 2010–2025
PURPOSE
Tests whether observed growth in Nigerian grid generation carries information about growth in electricity DEMAND, or only about population growth and the persistence of supply constraints. Feeds correction plan Phase 1.6 Step 1.
HEADLINE RESULT
Between 76% and >100% of observed generation growth is demographic. Grid generation per capita rose from ~157 to ~175 kWh/person over fifteen years — about 0.73%/yr, equivalent to 2.1 W of additional continuous supply per person. Under some windows it is negative.
METHODOLOGICAL CONSEQUENCE
The observed series contains essentially no signal about consumption intensity. It cannot be used to source an organic demand-growth rate: doing so assumes the supply constraint persists and then reports low capacity needs because demand was assumed not to grow. Same error class as the superseded 23.08 TWh base (a collected-energy quantity read as demand).
SOURCES
NERC — Nigerian Electricity Regulatory Commission quarterly reports (2017–2026 Q1), gross generation sent out at busbar. AUTHORITATIVE for level and metering point. Series is incomplete: only 2019 has four quarters, and 2023–2025 have annual totals.
Ember — Electricity Data Explorer, Nigeria annual total generation (TWh), 2010–2025. Used for SHAPE only, not level. Definitional boundary differs from NERC (see FLAGS).
World Bank WDI — SP.POP.TOTL, Nigeria total population. Source: UN World Population Prospects plus national statistical office data.
FLAGS — read before using any number here
[F1] Nigeria's last census was 2006. All population figures are projections and are contested. The uncertainty propagates directly into every per-capita figure below.
[F2] The NERC 2022 entry is 3,988 MWh/h — an average-power figure, not an annual energy total. Converted here as x 8,760 h. Whether it is sent-out or generated is UNVERIFIED.
[F3] The NERC-to-Ember level gap is NOT a stable definitional offset: +8.8% (2022), +11.5% (2023), +1.3% (2024), +6.0% (2025). A stable offset would permit clean index-splicing; this does not. The two series are therefore reported side by side and never merged.
[F4] The connected-population denominator is NOT computed here. Tier 1's correct denominator is connected population, not total; using total folds access expansion into organic growth. Requires WDI EG.ELC.ACCS.ZS, not yet gathered.
[F5] 2026 Q1 (8,883.47 GWh) is a partial year and is excluded from all calculations.
CELL CONVENTION
Blue text = hardcoded input, transcribed from source. Black text = formula. Yellow fill = value carried into scenarios.py.

## Raw_NERC
NERC gross generation sent out at busbar — as transcribed
Year | Q1 (MWh) | Q2 (MWh) | Q3 (MWh) | Q4 (MWh) | Annual (GWh) | Total (TWh) | Note / integrity flag
2017 |  |  | 7399765.1 | 8705606 |  |  | Q1,Q2 missing — annual total not computable
2018 | 8511481 |  |  | 8878473
2019 | 8878473 | 8451428 | 7984685 | 8101193 |  | 33.4158
2020 | [6 empty] | not gathered
2021 | [6 empty] | not gathered
2022 | [5 empty] | 34.9349 | [F2] source gives 3,988 MWh/h — see G8 formula
2023 |  |  |  |  | 36710.38 | 36.7104 | annual total, NERC
2024 |  |  |  |  | 37093.7 | 37.0937 | annual total, NERC — model Tier 1 anchor
2025 |  |  |  |  | 39193.93 | 39.1939 | annual total, NERC
2026 | [6 empty] | [F5] Q1 only (8,883.47 GWh) — partial year, excluded
Source: NERC quarterly reports. Units as printed in source — MWh, GWh and MWh/h all appear; see [F2].

## Raw_Ember_WDI
Ember generation and World Bank population — long series
Year | Ember gen (TWh) | WDI population | Access rate (fraction) | Source
2010 | 26.13 | 166642886 | 48% | Ember / WDI SP.POP.TOTL / WDI EG.ELC.ACCS.ZS
2011 | 27.04 | 171379598 | 55.9% | Ember / WDI SP.POP.TOTL / WDI EG.ELC.ACCS.ZS
2012 | 28.74 | 176200625 | 53% | Ember / WDI SP.POP.TOTL / WDI EG.ELC.ACCS.ZS
2013 | 28.93 | 181049443 | 55.6% | Ember / WDI SP.POP.TOTL / WDI EG.ELC.ACCS.ZS
2014 | 32.28 | 185896915 | 54.2% | Ember / WDI SP.POP.TOTL / WDI EG.ELC.ACCS.ZS
2015 | 33.17 | 190671878 | 52.5% | Ember / WDI SP.POP.TOTL / WDI EG.ELC.ACCS.ZS
2016 | 36.54 | 195443700 | 59.3% | Ember / WDI SP.POP.TOTL / WDI EG.ELC.ACCS.ZS
2017 | 32.24 | 200254579 | 54.4% | Ember / WDI SP.POP.TOTL / WDI EG.ELC.ACCS.ZS
2018 | 36.71 | 204938755 | 56.5% | Ember / WDI SP.POP.TOTL / WDI EG.ELC.ACCS.ZS
2019 | 36.46 | 209485641 | 55.4% | Ember / WDI SP.POP.TOTL / WDI EG.ELC.ACCS.ZS
2020 | 38 | 213996181 | 55.4% | Ember / WDI SP.POP.TOTL / WDI EG.ELC.ACCS.ZS
2021 | 39.2 | 218529286 | 59.5% | Ember / WDI SP.POP.TOTL / WDI EG.ELC.ACCS.ZS
2022 | 38 | 223150896 | 60.5% | Ember / WDI SP.POP.TOTL / WDI EG.ELC.ACCS.ZS
2023 | 40.92 | 227882945 | 61.2% | Ember / WDI SP.POP.TOTL / WDI EG.ELC.ACCS.ZS
2024 | 37.56 | 232679478 | 62.5% | Ember / WDI SP.POP.TOTL / WDI EG.ELC.ACCS.ZS
2025 | 41.54 | 237527782 |  | Ember / WDI SP.POP.TOTL / WDI EG.ELC.ACCS.ZS

## Per_Capita
Grid generation per capita (kWh/person/year)
[F4] Both denominators shown. WDI access includes off-grid/DRE, so 'connected' overstates GRID-connected population and the per-connected decline is a lower bound.
Year | Ember gen (TWh) | Population | kWh per total capita | NERC gen (TWh) | NERC kWh per total capita | Access rate | Connected population | kWh per CONNECTED capita
2010 | 26.13 | 166642886 | 156.8024 |  |  | 48% | 79988585.28 | 326.6716
2011 | 27.04 | 171379598 | 157.7784 |  |  | 55.9% | 95801195.282 | 282.2512
2012 | 28.74 | 176200625 | 163.1095 |  |  | 53% | 93386331.25 | 307.7538
2013 | 28.93 | 181049443 | 159.7906 |  |  | 55.6% | 100663490.308 | 287.3932
2014 | 32.28 | 185896915 | 173.6446 |  |  | 54.2% | 100756127.93 | 320.3775
2015 | 33.17 | 190671878 | 173.9638 |  |  | 52.5% | 100102735.95 | 331.3596
2016 | 36.54 | 195443700 | 186.9592 |  |  | 59.3% | 115898114.1 | 315.2769
2017 | 32.24 | 200254579 | 160.9951 |  |  | 54.4% | 108938490.976 | 295.9468
2018 | 36.71 | 204938755 | 179.1267 |  |  | 56.5% | 115790396.575 | 317.0384
2019 | 36.46 | 209485641 | 174.0453 | 33.4158 | 159.5135 | 55.4% | 116055045.114 | 314.1613
2020 | 38 | 213996181 | 177.5733 |  |  | 55.4% | 118553884.274 | 320.5294
2021 | 39.2 | 218529286 | 179.381 |  |  | 59.5% | 130024925.17 | 301.4807
2022 | 38 | 223150896 | 170.2884 | 34.9349 | 156.5527 | 60.5% | 135006292.08 | 281.4684
2023 | 40.92 | 227882945 | 179.5659 | 36.7104 | 161.0931 | 61.2% | 139464362.34 | 293.4083
2024 | 37.56 | 232679478 | 161.4238 | 37.0937 | 159.4197 | 62.5% | 145424673.75 | 258.278
2025 | 41.54 | 237527782 | 174.8848 | 39.1939 | 165.0078

## Decomposition
CAGR decomposition: generation growth = population growth x per-capita growth
Ember basis (long series). Multiple windows shown as a robustness check.
From | To | Years | Generation CAGR | Population CAGR | Per-capita CAGR | Demographic share of growth
2010 | 2025 | 15 | 3.139% | 2.391% | 0.7303% | 76.46%
2013 | 2025 | 12 | 3.061% | 2.288% | 0.755% | 75.05%
2015 | 2025 | 10 | 2.276% | 2.222% | 0.05282% | 97.65%
2017 | 2025 | 8 | 3.219% | 2.157% | 1.04% | 67.35%
2014 | 2024 | 10 | 1.526% | 2.27% | -0.7271% | 148.2%
NERC basis (short series — 2 to 3 years only, reported for comparison)
From | To | Years | Generation CAGR | Population CAGR | Per-capita CAGR
2022 | 2025 | 3 | 3.909% | 2.103% | 1.769%
2023 | 2025 | 2 | 3.327% | 2.094% | 1.208%
CONNECTED-POPULATION basis (Ember gen / (population x access rate))
From | To | Years | Generation CAGR | Connected pop CAGR | kWh/connected CAGR | Access rate CAGR
2010 | 2024 | 14 | 2.626% | 4.362% | -1.664% | 1.903%
2013 | 2024 | 11 | 2.402% | 3.401% | -0.9663% | 1.069%
2015 | 2024 | 9 | 1.391% | 4.237% | -2.731% | 1.956%
2017 | 2024 | 7 | 2.206% | 4.213% | -1.926% | 2.003%
2010 | 2023 | 13 | 3.51% | 4.369% | -0.8227% | 1.886%
CARRIED INTO scenarios.py
constrained_continuation (central) |  |  | 3.139% |  | Ember 2010-2025 generation CAGR. Supply-suppressed series: label as constraint-persistence arm, NOT organic demand growth.
constrained_continuation (low) |  |  | 1.526% |  | Weakest window (2014-2024). Reported as the range floor.
constrained_continuation (high) |  |  | 3.219% |  | Strongest window (2017-2025).